## NBS PUMP
PUMPS
UNIT NO | MFR | MODEL | TYPE | LOCATION | FLUID TYPE | FLUID TEMP (F) | PERFORMANCE |  |  | CONNECTIONS (IN) |  | MOTOR/ELECTRICAL |  |  |  | PUMP CONTROL | NOTES
[7 empty] | GPM | HEAD (FT) | NSPHR | SUCTION | DISCHARGE | HP | RPM | V/PH | MCA
P-01 | GRUNDFOS | NBS | END SUCTION |  |  | 120
- | GRUNDFOS
- | GRUNDFOS
NOTES 1. WHEN INSTALLING PUMPS NO ALIGNMENT REQUIRED AND VIBRATION ISOLATORS ARE NOT RECOMMEND, ENSURE PUMP IS INSTALLED LEVEL. 2. PUMP ONLY AVAILABLE IN SPLIT COUPLING DESIGN. 3. INTERMEDIATE HOUSING MUST HAVE A THREADED DRIP CONNECTION.